## Slide 1: Challenges in Ensuring the Security of Cyber Physical Systems
Singapore University of Technology and Design
Aditya P Mathur
January 12, 2013
Birla Institute of Technology and Science
Notes: http://www.istockphoto.com/stock-illustration-17912107-game-world.php?st=d56805a (temperature 1100K)

## Slide 2: Questions of interest
What is a CPS?
What are the security issues in CPS and how do they differ from those in traditional information systems?
To what extent can a CPS be secured against cyber crime?
Are there some fundamental design principles that ought to be used when designing or upgrading a CPS?
What are the curricular ramifications of CPS security?

## Slide 3: CPS: Examples
Shipping
Healthcare
Energy
Transportation

## Slide 4: Smart Grid - Overview

## Slide 5: Smart Grid – Smart Metering

## Slide 6: Smart Metering Privacy Issue (1)

## Slide 7: Smart Metering Privacy Issue (2)

## Slide 8: Cyber Physical System: Components

## Slide 9: CPS: Greenhouse

## Slide 10: CPS: Blending process

## Slide 11: Cyber Physical Systems: Abstraction

## Slide 12: CPS: Component view

## Slide 13: CPS: Systems View
Physical System
Sensor
Control System
Actuator
y
u: input
x: state
Estimation and control
: Network

## Slide 14: CPS Network-based Attacks
Physical System
Sensor
Control System
Actuator
y’ not y:
Sensor
compromised
u’ not u
controller
compromised
Network
jammed

## Slide 15: Existing Techniques
Authentication
Digital signatures
Access control
Intrusion detection

## Slide 16: Enhancement of existing approaches
How deception and DoS attacks affect application layer performance (e.g., estimation and control)?
Intrusion detection and deception attacks in control systems?
What if a human is not in the loop for intrusion detection?

## Slide 17: Traditional versus CPS security

## Slide 18: Traditional
Confidentiality: Ability to maintain secrecy from unauthorized users.
Integrity: Trustworthiness of data received; lack of this leads to deception.
Availability: Ability of the system being accessible

## Slide 19: CPS
Timeliness: responsiveness, freshness of data
Ref: A Taxonomy of Cyber Attacks on SCADA Systems, Zhu et al., UC Berkeley.
Availability: unexpected outages
Integrity: genuine data displayed and received by the controller
Confidentiality: Information regarding SCADA not available to any unauthorized individual
Graceful degradation

## Slide 20: Industrial Control Systems

## Slide 21: SCADA
Supervisory Control and Data Acquisition System
It is an industrial control system that consists of RTUs, PLCs, and HMIs to control an industrial process.
Use: Manufacturing, power generation, fabrication, oil and gas pipelines, etc.

## Slide 22: RTU
Microprocessor controlled Remote Terminal/Telemetry Unit
Interface between physical objects and a SCADA.
Transmits telemetry data to SCADA. Example: water quality.
Siemens LC150 Pump Control Telemetry Unit

## Slide 23: PLC
Programmable Logic Controller
A computer to control the operation of electro-mechanical devices such as pumps, motors, switches
Hard real-time system
Programs stored in non-volatile memory, battery backup
Programmed using State Logic, Basic, C:
IEC 61131-3 programming standard
Siemens S7-mEC embedded controller

## Slide 24: PLC Programming
Programs stored in non-volatile memory, battery backup
Programmed using IEC 61131-3 programming standard
Languages: graphical (e.g., Ladder diagram) and textual (e.g., Structured Text, Sequential Function Charts)
Ref: http://www.rtaautomation.com/iec61131-3/
http://www.dogwoodvalleypress.com/uploads/excerpts/03192005214421.pdf

## Slide 25: PLC Scan
PLC program is scanned continuously while reading the state of physical inputs and setting the state of the physical outputs.
Scan time for one cycle is between 0-200ms.
Larger scan times might miss transient events.

## Slide 26: HMI
Human Machine Interface
Operator panel to display and control of system/device state
Programming software: Example: WinCC from Siemens

## Slide 27: SDR
Software Defined Radio
Radio communication system that has the traditional hardware components implemented in software. These include mixers, filters, amplifiers, modulator/demodulator, etc.

## Slide 28: Network Security in CPS: Siemens Approach
Use the notion of “cell protection.”
Divide plant network into “automation cells.” Inside such a cell all devices are able to communicate with each other.
Access is controlled at the entrance to each cell using a hardware device
Communication with the outside world is via VPN-protected channel.

## Slide 29: CPS Survivability
How can a CPS continue to function above a given threshold in the presence of attacks?
Despite these techniques, systems continue to be compromised.

## Slide 30: Two stories: North Pole Toys Stuxnet

## Slide 31: North Pole Toys: Basics
On-line retailer.
Carries specialized toys generally not found elsewhere.
Process: Toy Assembly, Toy Packaging and Toy Shipping
2011: Replaced the old manufacturing system with new automated industrial control system.
Files are carried on USB sticks from main server to the workshop; air gap established

## Slide 32: North Pole Toys: Attack
Day before Thanksgiving 2011…….
Instead of one toy per box, multiple toys were being placed.
Some empty boxes were being wrapped.
Initial suspicion: Incorrect PLC code; but the code found to be correct.
Discovery: kAndyKAn3 worm had infected the PLC and the main office computers.

## Slide 33: Stuxnet

## Slide 34: Uranium and its isotopes
Uranium: Naturally occurring radioactive element
Uranium 238: 99.2739 - 99.2752%
Uranium 235: 0.7198 - 0.7202%
Uranium 234: 0.0050 - 0.0059%

## Slide 35: Uranium 235
Only isotope found in nature in any appreciable quantities; is fissile, i.e., can be broken apart by thermal neutrons.

## Slide 36: Uranium enrichment: Basis
http://www.world-nuclear.org/info/inf28.html
Exploit mass difference (238 versus 235)
Produce UF6

## Slide 37: Uranium enrichment: Zippe Centrifuge
geoinfo.nmt.edu/resources/uranium/enrichment.html
Use centrifuges (rapidly revolving cylinders); pulsating magnetic field applied to the rotor; bottom is heated; rotation in vacuum
Heavier U238 atoms down and outward
Lighter U235 atoms move towards center and are collected
Banks of centrifuges used to get the desired amount of U325.
http://en.wikipedia.org/wiki/Zippe-type_centrifuge

## Slide 38: Iranian nuclear enrichment plant
Intl Atomic Energy Commission found over 1000-2000 removed from cascades in a few months!!
What happened?
About 8700 centrifuges installed; replacement rate of 10% per year (approximately 800/yr);

## Slide 39: Malware suspicion
It was found that the virus was using a zero-day vulnerability to spread.
June 17, 2010: A computer belonging to an Iranian a customer of VirusBlokAda was caught in a reboot loop.

## Slide 40: Stuxnet Spread: .LNK file via USB
Microsoft informed; the virus named Stuxnet using the file names found in the virus (.stub and MrxNet.sys)
The .LNK file drops a new copy of Stuxnet onto other systems
It also drops a rootkit which is used to hide the Stuxnet routines.
Some driver files used a certificate stolen from a company in Taiwan.

## Slide 41: Stuxnet Spread: Vulnerabilities exploited
Print spooler
Windows keyboard file
Task Scheduler file
Static password (Cyber) coded by Siemens into Step 7 software

## Slide 42: Stuxnet..cut short a long story
Designed to target Simatic WinCC Step7 software from Siemens.
A malicious DLL file intercepted commands from Step 7 to PLC that controlled frequency converters; replaced them by their own commands; the screen showed only valid commands.
Stuxnet searched for a specific value—2C CB 00 01, 9500H, 7050; codes used in Profibus communication standard.
The two 1-word codes were of frequency converters made in Finland and Iran.

## Slide 43: Stuxnet..finally
The STL (Statement List) code sent 47F and 1 (command to start the frequency converter and set value to 1 ).
Stuxnet strategy:
Stay quiet for 2-weeks; increase the frequency of the converters to 1,410Hz for 15 minutes; restore them to a normal frequency of 1,064Hz for for 27 days; drop the frequency down to 2Hz for 50 minutes.
Repeat above.

## Slide 44: Control Systems: Basics
Ref: Secure control: towards survivable cyber physical systems, Amin et al.,

## Slide 45: Linear feedback system
x: state vector
A: state matrix
B: Input matrix
C: Output matrix
D: Feedforward matrix
u: Control input
Y: System output
xk+1=Axk+wk
yk=Cxk+vk
w: state noise and
v: measurement noise vectors
Problem: How to ensure optimal state estimation under noisy measurements?
Gaussian random noise, zero mean and Q and R, both >0 as covariance

## Slide 46: Linear feedback system: discrete version
xk+1=Axk+wk
yk=Cxk+vk
w: state noise and
v: measurement noise vectors
Problem: How to ensure optimal state estimation under noisy measurements?
Gaussian random noise, zero mean and Q and R, both >0 as covariance.
Assumption: (A;C) is detectable and (A;Q) is stabilizable,
the estimation error covariance of the Kalman filter converges to a unique steady state value from any initial condition.

## Slide 47: Linear feedback system: robustness
xk+1=Axk+wk
yk=Cxk+vk
w: state noise and
v: measurement noise vectors
Every raw measurement of y might not arrive at the controller (estimator), e.g., due to network congestion.
Hence Kalman filters are needed that take into account packet losses (history of packet losses).
Do we know the characteristic of packet losses when under attack (QoS parameters)?
Perhaps consider state of the communications network as a stochastic event and develop new filtering techniques.

## Slide 48: Fault tolerant control (FTC)
Goal: Maintain stability and acceptable behavior in the presence of component faults by applying physical and/or analytical redundancies.
Passive FTC: Consider a fixed set of fault configurations and design the system to detect and compensate for these. Example: Control in the presence of sensor malfunction.
Active FTC: Estimate state and fault parameters using measurements and control data and reconfigure the system using different control law.

## Slide 49: PID Controller
P: Proportional
I: Integral:
D: Derivative
e: Error
u: Control input
Y: System output
Proportionality constants control the rise time, overshoot, settling time, and the steady state error of system output Y.

## Slide 50: Proportional Controller
Always a steady state error.
Error decreases with increasing gain.
Tendency to oscillate increases with increasing gain.

## Slide 51: PID Controller
Steady state error vanishes.
Tendency to oscillate increases with increasing KD=1/Ti, i.e., decreasing Ti.
Tendency to oscillate increases with increasing gain.

## Slide 52: PID Controller
KP and KI selected for oscillatory system.
Damping increases with increasing Td (KD=1/Td).
Derivative term is ineffective when Td is larger than about 1/6th of the period .

## Slide 53: The Gignac irrigation canal

## Slide 54: SCADA in irrigation: Physical attacks
Solar panels stolen affecting radio communications
Damaged monitoring bridge that hosts gate controllers
Installing additional pumps

## Slide 55: SCADA in irrigation: Other incidents
Tehama colusa canal, Willows, CA, USA
Maroochy water breach, near Brisbane, Australia
Harrisburg water filtering plant, Harrisburg, PA, USA

## Slide 56: SCADA in irrigation
SCADA
level
velocity
Hydraulic
structures
policies
Control
Signals (radio)
Motorized gates and
controllers

## Slide 57: Irrigation canal model
m: Number of canal pools
T, X: Cross section width and length of each pool (m)
V: Average cross-sectional velocity (m/s)
Y: Water depth
P: Offtake; lateral outflow (m2/s)
Ui-1, Ui: Opening of upstream and downstream gates
Gates

## Slide 58: Irrigation canal: Shallow Water Eqns
g: gravity (m/s2)
Sf : friction slope
Sb : bed slope (m/m)

## Slide 59: Irrigation canal: Control actions
Ui-1 and Ui: can be changed by controlling the actuators: Y: Known upstream and downstream
Yi(0, t) and Yi(X,t): known measurements
Upstream and downstream discharge:

## Slide 60: Irrigation canal: Boundary conditions
Upstream and downstream discharge:
Intermediate gates discharge:

## Slide 61: Irrigation canal: Feedback actions
Change in gate openings ui(t)
Boundary control actions are decentralized and local to each canal pool; computed using local water level measurements.

## Slide 62: Irrigation canal: Water withdrawal attack
Ji: Number of offtakes from pool i
Lateral flow along the length of the ith pool:
Indicator for jth offtake in ith canal:
Total lateral withdrawal from ith canal:

## Slide 63: Irrigation canal: Water withdrawal attack
Adversary can affect withdrawal from one or more of the Ji offtakes in canal i.
Water is withdrawn by discretely opening and closing the offtake gates.
Thus, the offtake withdrawal vector switches between different modes Q={1, 2,….N}.

## Slide 64: Irrigation canal: sensor deception attack
Adversary can affect sensor readings for upstream Yi(0, t) and Yi(X,t) and gate opening Ui(t)
This leads to a transformed water level and gate openings.

## Slide 65: Irrigation canal: Experiments

## Slide 66: Irrigation canal: Experiments

## Slide 67: CPS Design Principles

## Slide 68: Aspects to consider
Adversary models: Restrict the scope; but overly restrictive assumptions will likely limit their aplicability e.g., in DoS attacks.
Trust models: Trust in human users and devices, e.g., sensors and actuators
“Under attack” behavior: Detection and graceful degradation.
Independence in component design: Redundant authentication mechanisms that are indepenent of each other

## Slide 69: Potential research directions and educational needs

## Slide 70: CPS Gaps?
Study the overall design of selected critical CPS infrastructures and determine security gaps and their impact on functionality and safety of Singapore population.

## Slide 71: CPS Modeling: Network models
What is the state space of reach node (a subsystem)?
What are the constraints across node-states?
If and how could an attacker violate the constraints?

## Slide 72: CPS [Supply chain] Monitoring
Are the existing intrusion detection tools adequate for monitoring attacks across a supply chain?
How could nodes in a supply chain-- with Singapore as a node-- be compromised?
What monitoring tools are need to check the “health” of a supply chain given the possibility of an network attack?

## Slide 73: CPS Attack scenarios
How to defend against any such attacks?
Are there attacks different from the existing ones that could sabotage a supply chain or any CPS?

## Slide 74: CPS Control Robustness
How to design controllers that could continue to function in the presence of deception and denial of service attacks?

## Slide 75: CPS Access Control
Are RBAC and TRBAC models for access control adequate for large distributed CPS and global supply chains?

## Slide 76: CPS: Theoretical Foundations
Control theoretic [e.g., work at Berkeley]
Game theoretic [e.g., work at UT Arlington]
Verification and testing techniques[e.g., work at Purdue]
Specification-based [e.g., work at UIUC]

## Slide 77: CPS: Educational needs
Traditional IT security:
Cryptography, networks, OS, and other CS subjects
CPS security:
Interdisciplinary education needed;
Background in controls, game theory, industrial automation;
Domain background
Most importantly:
Ability to acquire the necessary background through self learning

## Slide 78: Summary
What is a CPS?
What research directions Singapore ought to consider to ensure the functionality of its CPS and consequently the safety of its people?
Why existing techniques for the detection and prevention of information-related attacks might be inadequate in CPS?

## Slide 79: References [Sample]
Secure Control: Towards Survivable Cyber-Physical Systems. Alvaro A. Ca ́rdenas Saurabh Amin Shankar Sastry, The 28th International Conference on Distributed Computing Systems Workshop, IEEE 2008.
Common Cybersecurity Vulnerabilities in Industrial Control Systems. US Department of Homeland Security. May 2011.
Cyber-Physical Systems Security for Smart Grid. White Paper. Manimaran Govindarasu, Adam Hann, and Peter Sauer. February 2012.
Improving the Security and Privacy of Implantable Medical Devices, William H. Maisel and Tadayoshi Kohno, New England Journal of Medicine 362(13):1164-1166, April 2010.
Guide to Industrial Control Systems (ICS) Security. Keith Stouffer, Joe Falco, and Karen Scarfone. NIST. 800-02. June 2011.